## Slide 1: News from g-2 ωp and mu2e
  Saskia Charity
  Liverpool Annual Meeting
  19 May 2023

## Slide 2
The muon programme at Fermilab
Chicago
g-2
Delivery Ring
Mu2e
mu2e
g-2
14m

## Slide 3
Liverpool @ mu2e
Searching for the neutrinoless conversion of μ to e in the presence of a nucleus: μ- + N -> e- + N
Practically forbidden in SM (~10-54)
Signal is unambiguous sign of new physics
Liverpool contribution: Stopping Target Monitor (STM)
Measure number of stopped muons (denominator) to 10%
Muon stopped in Al target cause 3 characteristic γ emissions:
  347 keV from 2p1s (prompt)
  1809 keV from nuclear capture (864 ns)
  844 keV from decay of metastable 26Mg* capture product, 9.5 min
High-purity Germanium (HPGe) detector (Liverpool) : high resolution (1-2 keV) for determination of closely spaced transitions
LaBr detector : high rate capability
HPGe tested at Liverpool and in test beam @ ELBE
Currently being installed at FNAL
30 cm

## Slide 4
g-2 : the muon anomalous magnetic moment
The muon has an intrinsic magnetic moment that is coupled to its spin via the gyromagnetic ratio g:
Magnetic moment (spin) interacts with external B-fields
Makes spin precess at frequency determined by g
Anomalous magnetic moment

## Slide 5
Muon precession frequency
Muon-weighted magnetic field
Measuring aμ in the g-2 experiment
3.09 GeV μ+
Measure both terms with equal precision (target: 70 ppb)
See Cedric’s talk

## Slide 6
Ingredients for a high-precision measurement of
keep the field highly uniform and stable (passive and active shimming)
calibrate NMR probes with a well-known measurement standard (plunging probe)
correct for transient fields caused by pulsed HV systems (kickers, quads)
systematics: probe resolution, material effects, temperature, tracking uncertainty + …
measure the field in the space traversed by the muons (trolley)
measure the muon beam profile continuously (trackers)
track sub-ppm changes in the field over time (fixed probes)
Phys. Rev. A 103, 042208 (2021)
https://indico.fnal.gov/event/55621/

## Slide 7
The g-2 Storage Ring magnet
7.112 m radius ‘C’-shape magnet with vertically-aligned field B = 1.45 T
Dipole field has ppm-level uniformity (14 ppm RMS across the full azimuth)
Tiny (ppm) changes in magnet geometry, driven by temperature changes, cause the field to drift over time
Shimming devices minimise gradients (transverse and azimuthal field components).

## Slide 8
Magnetic field measurement instrumentation
Measured using pulsed NMR – well-known technique, used in wide range of applications to measure B fields at the ppb level
Field measured by extracting frequency from a Free Induction Decay (FID) spectrum

## Slide 9
Describe shape of field using 2D fit or “multipole expansion”
Trolley run
Measure 17 frequencies at each azimuth
Mapping the field with the trolley

## Slide 10
Interpolation and muon weighting
Interpolation Predict shape of field when trolley is not present using fixed probe measurements
Muon Weighting
See Elia’s talk

## Slide 11
Interpolation uncertainty
Field tracking uncertainty driven by length of time between trolley runs
Trolley / Fixed Probe synchronisation drifts over time
Δm
Larger field changes at yoke boundaries (unseen by FP) shortly after magnet ramp

## Slide 12
Putting it all together: the field in Run 2/3
PRELIMINARY, BLINDED
Improved temperature control in the experimental hall: more stable higher-order terms
Many trolley runs: reduced interpolation uncertainty (and better understanding of ramp effects)
PRELIMINARY, BLINDED

## Slide 13
Putting it all together: the field in Run 2/3
Main reduction in uncertainty comes from better understanding of transient field effects
Interpolation uncertainty has also reduced with number of trolley runs
Uncertainty already at required level for full g-2 dataset
PRELIMINARY
Plot by R. Reimann

## Slide 14
The future: Run 4/5/6 and beyond
Analysis for Run 4/5/6 is already underway
Run 6 finishes in July: end of g-2 (!)
Magnet will stay powered for the next ~year for dedicated field studies
To-do list:
  Magnetometer measurements of kicker transient field
  Measurements of quad transient field
  Radial field measurements (see Dominika’s talk)
  Trolley uncertainties: motion effects and eddy currents
  Absolute calibration cross-checks

## Slide 15
Thank you!

## Slide 16
Mu2e STM Test Beam @ ELBE FZDR

## Slide 17
Absolute Calibration
Trolley and fixed NMR probes use petroleum jelly as the proton sample. Chosen for low volatility.
Must calibrate with protons in a water sample (measurement standard) in order to measure a𝝻
A dedicated calibration probe with a cylindrical H20 sample is installed inside the vacuum chamber.
In a dedicated calibration campaign, trolley and calibration probes switch places to repeatedly measure the same field in the same place
Calibration probe is calibrated against a different probe with a spherical water sample.
Both calibration probes were cross-checked with a spherical 3He sample (different systematics)
Agreement between all three calibration probes at 10 ppb level

## Slide 18
Transient field from pulsed systems
Largest uncertainties in Run-1 come from “fast transient” fields generated by the pulsed systems (kickers and quads)
Muons experience a field change which the fixed probes do not see (due to shielding)
Effects were measured separately during dedicated measurement campaigns.
Kicker pulse of 22 mT for 150 ns just after muon injection.
Field change caused by residual field after kicker pulse. Muons present from 30μs to 700μs after the kick (fit region)
Kicker correction (Run-1): -27 (37) ppb
Kicker
Grey regions = muon storage times
Measured with a dedicated in-vacuum NMR probe located between quad plates during pulsing
Quad correction (Run-1): -17 (92) ppb
Quad

## Slide 19
Components of the magnetic field map
Extract terms from a multipole (m) expansion of B in r and θ:
Dipole (m1)
Field gradients in an azimuthal “slice”
Trolley: Fit the 2D contour plot to extract the multipole terms (m1, m2, m3, ...)
Fixed probes: extract terms from geometric combination of probe frequencies
Fixed probes can track m1, m2, m3, m4 only
“Normal” terms: m2, m4, m6, m8, ...
“Skew” terms: m3, m5, m7, m9, ...