## Slide 1: Diagnostic techniques in plasma-based accelerators
H. D. Zhang*, University of Liverpool
*haozhang@liverpool.ac.uk

## Slide 2: Typical plasma-based accelerator system
Credit: Bifeng Lei

## Slide 3: Plasma diagnostics
Interferometry is a method of determining gas-jet density
Uses the difference in refractive index between jet and vacuum to produce a phase shift
Two interferometric schemes have been analysed – Mach-Zehnder and Nomarski, using a 0.79 mm nozzle
Density resolution limited to molecules per cm3.
Multi-pass interferometry could increase the density range
A 4x pass or more x pass system is implementable with no vacuum geometry change
Notes: the refractive index

## Slide 4: Experimental Characterising
Nozzle
TMP
XYZ nozzle manipulator

## Slide 5: Parker pulsed valve

## Slide 6: Mach-Zehnder and Nomarski Set-Up
Nomarski
Mach-Zehnder

## Slide 7: Nomarski interferometry
Uses a Wollaston prism to create the overlapping beam paths
Wollaston prism splits unpolarised light into an orthogonally plane polarised ordinary and extra-ordinary beams
Light polarised at 45⁰ passes through gas-jet. Split into two beams, one at 0⁰, the other at 90⁰.
Final polariser recombines beams so an interference pattern can be obtained.

## Slide 8: MZ and Nomarski Systems
MZ Interferometer
Nomarski Interferometer
Alignment + set-up easier with Nomarski

## Slide 9: Interferometry – Phase Maps
Nomarski
Mach-Zehnder

## Slide 10: Interferometry – Density Comparison
Nomarski
Mach-Zehnder
Analysed with IDEA [8]

## Slide 11: Double-Pass at the CI
Pass 1
Pass 2

## Slide 12: Double-Pass Results
Have preliminary results from the double-pass set-up
Below is a comparison of the single and double pass systems
Double pass artificially shows twice the density – signal strength is twice as large as expected

## Slide 13: 4 x Pass

## Slide 14: More pass

## Slide 15: For CNT forest
Scanning electron microscope (SEM) images.
Appl. Phys. Lett. 91, 093121 (2007)

## Slide 16: Typical plasma-based accelerator system
Credit: Bifeng Lei

## Slide 17: Energy Spectrometer
The AWAKE Spectrometer
Credit: F. Pannell
Things to consider:
  Separate electrons from laser/drive beam.
  Full energy distribution (interested spectrum) into transverse distribution (0.1-1 GeV with 100 µm CNT lengths)
  Dipole field.
  Screen size.
  Synchronized camera & continuous camera
  Beam size (10s µm)
  Intensity => choice of Phosphor.

## Slide 18: Other parameters to consider
Sizes (10s µm) => Measured by 2 Energy spectrometers.
Bunch length (10s fs) => Will be challenging for non-interceptive.
Charge/current (100 pC – 1 nC)
  Faraday cup.
  ICT from Bergos
Emittance (10s mm mrad) ???

## Slide 19: Pepperpot emittance measurements
xj
σj
nj
jth beamlet intensity
Beam
Mask
Beamlets
Screen
[2]https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=2861
[1] M. Zhang, "Emittance Formula for Slits and Pepper-pot Measurement", FERMILAB-TM-1988, Oct. 1996
[1]
[1]
[2]
OTR
Slides from C. Swain

## Slide 20: Experimental setup
Slides from C. Swain
MLA
DMD

## Slide 21: Thank you for your attention!
Any questions?