## Slide 1: Mu3e
Thomas Christian Senger on behalf of the Mu3e collaboration

## Slide 2: Charge Lepton Flavor Violation
Lepton flavor violation is experimentally observed in the neutral lepton regime (neutrino oscillations)
Many new Physics Models predict cLFV (e.g SUSY)
  Any observation of cLFV is a clear sign of new physics
Heavily suppressed in the SM + neutrino mixing

## Slide 3: The golden muon channels
MEG /MEG II (PSI 2025)
BR
SINDRUM II (PSI 2006)
BR
SINDRUM II (PSI 1988)
BR
Muons are an excellent probe of cLFV
Sensitive: New physics effects scale with the squared lepton mass
Clean: Relatively long lifetime and simple, well-understood decay channels, allowing for precise and background-free measurements

## Slide 4: The Mu3e experiment at PSI
The Mu3e Experiment is located at Paul Scherrer Institute in Switzerland
Most intense muon beam with low momentum muons 28MeV
Up to Muons/s
Muon production at HIPA
590 MeV proton accelerator
Carbon target, produce pions, decay to surface muons
Goal: Improvement of the current limit by 4 orders of magnitude in two phases
Phase 1 aims for a sensitivity of (Start in 2026)
  First commissioning run in 2025
  Currently under construction at PSI
Phase 2 aims for a sensitivity of (from 2030)
  High intensity muon beamline HIMB (up to Muons/s)
  R&D started

## Slide 5: Mu3e signal and backgrounds
Signal
Common Vertex
Time coincidence
Accidental combinatorial background
Accidental combinations of from decays with an or originating from
  Bhabha scattering
  photon conversion,
  mis-reconstruction
 Need very good timing and vertexing
Internal conversion
Rare muon decay BR(
The three electrons have a common vertex and are coincident
Distinguishable only by the missing momentum carried by neutrinos
Need excellent momentum resolution
 MeV/c
 Multiple Coulomb scattering effects dominates due to low momentum
Two Michel decays + Michel decay + Internal Conversion

## Slide 6: The Mu3e experiment
Target
Muons are stopped on aluminised mylar double hollow cone
Maximum stopping fraction 95.5%
Minimal material budget (~0.15%)
Mu3e magnet
Superconducting solenoid
Provides a uniform 1 T field
Enable precise momentum reconstruction

## Slide 7
2 layer Vertex Detector
50µm thin Mupix 11 sensors / 6 chips per ladder
Precise vertexing (~ 200μm)
2 Outer Pixel Layers
70µm thin Mupix 11 sensors / Up to 18 sensors per ladder
For good momentum resolution and high p acceptance
 reconstruction of recurling tracks

## Slide 8
2 layer Vertex Detector
50µm thin Mupix 11 sensors / 6 chips per ladder
Precise vertexing (~ 200μm)
2 Outer Pixel Layers
70µm thin Mupix 11 sensors / Up to 18 sensors per ladder
For good momentum resolution and high p acceptance
 reconstruction of recurling tracks
Cooled by low-density gaseous helium

## Slide 9
scintillating tiles
Readout by SiPMs and custom ASIC
Timing resolution 80ps
3 layers of 250µm scintillating fibres
Read-out by (SiPMs) and custom ASIC
Timing resolution < 0.5 ns

## Slide 10: Mupix 11
High-Voltage Monolithic Active Pixel Sensor (HV-MAPS)
Detection and Readout combined in one chip
Fully digital 1.25Gbit/s LVDS output
Pixel size 80 x 80
99% efficiency with less than 20ns time resolution
2 comparator design
Tuning/trimming and masking available
Chip sub-divided into 3 matrices → 1 data link each + 1 multiplexed link

## Slide 11: Mu3e Vertex Detector
8 or 10 ladders per layers
Each Ladder carries 6 sensors
108 sensors in total
Mechanical support with minimized material budget
  Aluminized Kapton interfaces by LTU (𝑋/ ≈ 0.15 % per layer)
  Sensors glued on foils + spTAB for electrical connection
DAQ to sensor connection via micro-twisted pair cables and other flexes produced through standard processes

## Slide 12: Challenges in the Construction and the Operation of the Mu3e Vertex Detector

## Slide 13: Construction and Handling
Wafer Peeling
Manual Chip Placement
Glue Distribution
spTa-Bonding
Handling

## Slide 14: Signal transmission challenge
Need to transmit all differential LVDS data over µTP cables
  Space limitations
  Used in the CMS experiment at much lower data readout rate (factor 10 lower)
Huge challenge to transmit data error free
  Loss of up to 70% of signal amplitude at maximum data rate (1.25 Gbit/s)
Can be partially recovered through the chip internal preemphasis (VNLVDSDel) and signal amplification (VNLVDS)
  With increase of the preemphasis the eye opening factor increases and signal amplitude decreases
  Signal amplitude saturates at certain DAC setting point
  Higher DAC settings increase power consumption of the sensor
Have ladder qualification criteria to check each ladder for error free data transmission

## Slide 15: Signal transmission challenge
Need to transmit all differential LVDS data over µTP cables
  Space limitations
  Used in the CMS experiment at much lower data readout rate (factor 10 lower)
Huge challenge to transmit data error free
  Loss of up to 70% of signal amplitude at maximum data rate (1.25 Gbit/s)
Can be partially recovered through the chip internal preemphasis (VNLVDSDel) and signal amplification (VNLVDS)
  With increase of the preemphasis the eye opening factor increases and signal amplitude decreases
  Signal amplitude saturates at certain DAC setting point
  Higher DAC settings increase power consumption of the sensor
Have ladder qualification criteria to check each ladder for error free data transmission

## Slide 16: Efficient pixel operation
Can set a global threshold per chip
  Set as low as possible to detect small pulses
Only narrow plateau region with >99% efficiency
50 m thin chips show noisy pixels at high thresholds due to
  Thinning process
  Mechanical stress
  Guard ring induced noise
High noise occupancy can cause buffer saturation and data corruption and prevent other pixels from being read out
Masking of noisy pixels is required but each masked pixel lowers the total efficiency
In-pixel tuning is essential
  Can set threshold adjusting bits per pixel
  Very time extensive to find the best settings per sensor

## Slide 17: Efficient pixel operation
Can set a global threshold per chip
  Set as low as possible to detect small pulses
Only narrow plateau region with >99% efficiency
50 m thin chips show noisy pixels at high thresholds due to
  Thinning process
  Mechanical stress
  Guard ring induced noise
High noise occupancy can cause buffer saturation and data corruption and prevent other pixels from being read out
Masking of noisy pixels is required but each masked pixel lowers the total efficiency
In-pixel tuning is essential
  Can set threshold adjusting bits per pixel
  Very time extensive to find the best settings per sensor

## Slide 18: Scintillating Fibres
3 layers of 250 μm staggered fibres
12 long fibre ribbons covering 4 𝜋
1 ribbon = 720 μm thick, 0.2 % radiation length
300 ps time resolution
Readout by SiPM arrays at both ends and custom ASIC (MuTRiG)
  256 channels per ribbon
Liquid cooling (SilOil, -20°) through the Cooling Ring

## Slide 19: Scintillating Tiles
Highly segmented in ~6k tiles
Very compact design
Tiles from fast Ej-228 plastic scintillator (6 x 6 x 5 mm3)
Individually wrapped in ESR foil - Minimize crosstalk
Coupled to Hamamatsu SiPMs read out by Mutrig ASIC
(S13360-3050VE @ -10°C, Silicon oil cooling)
Efficiency > 99%, single-channel time resolution ~ 40 ps
Performance validated in Demonstrator Modules
SIPM matrix Tile matrix
Tile module

## Slide 20: Mu3e Data Acquisition
Full streaming DAQ → triggerless readout
Synchronises data from all sub-detectors
Network of FPGAs and optical links
Collect all data of a time slice on one PC
Reconstruct tracks, then vertices on a GPU
Write interesting events to disk
Custom readout board electronics inside the magnet. Front-end board

## Slide 21: Minimal detector configuration
Three weeks of commissioning run campaign in 2025 at PSI in PiE5
Full vertex detector installed with 108 sensors
One of six SciFi modules
Three of fourteen SciTile modules
Operation with gaseous helium cooling and 1 T magnetic field
Most services independent of the sub-system have been installed and tested

## Slide 22: Commissioning Run 2025
Full Vertex Detector
2 SciFi ribbons
3 SciTile modules (DS)

## Slide 23: Service Installation

## Slide 24
The flight of Mu3e

## Slide 25
Operate vertex, scintillating fibres and tile detector with beam
Showed high-rate capability with sub-detector synchronisation
Stress test at muons / s
Demonstrated online track reconstruction with GPU filter farm
PIE5 services commissioned
First preliminary result
Measured momentum distribution for 6-,8,-10- and 12-hit long tracks
Re-weighted momentum distribution to correct for:
  limited polar angle of the vertex detector
  momentum dependence of a misaligned detector
Michel edge visible
Successful Commissioning of the Mu3e Detector

## Slide 26
Thinnest (0.12%/ layer) vertex detector currently operational
Demonstrated efficient data collection after successful tuning
All 108 chips installed
  75 % of the submatrices were operational
  4 had a mechanical damages before installation
  Lost ladders during installation
  A few chips were lost during operation
Many first times and unknowns
  Were the first to build such a detector
  We learned a lot
Improved ladder tooling and flex designs for the second version of the Mu3e Vertex Detector
Successful Commissioning of the Mu3e Detector

## Slide 27
Thinnest (0.12%/ layer) vertex detector currently operational
Demonstrated efficient data collection after successful tuning
All 108 chips installed
  75 % of the submatrices were operational
  4 had a mechanical damages before installation
  Lost ladders during installation
  A few chips were lost during operation
Many first times and unknowns
  Were the first to build such a detector
  We learned a lot
Improved ladder tooling and flex designs for the second version of the Mu3e Vertex Detector
Successful Commissioning of the Mu3e Detector

## Slide 28: Towards physics in 2026
Aim for a physics run in 2026
  Construct Vertex V2 (70µm thin sensors)
  Outer pixel production (central detector)
    Use 25 μm uni-directional carbon-fibre stiffner
    Robotic gantry used for placement of chip
  SciFi & Tile production
Could surpass the SINDRUM limit in less than two weeks
Install the full detector in 2027
  Production of recurl stations (2026)
Phase I data taking in HIMB
  Need 1 year of data taking to reach the branching ratio of
Detector Setup for 2026 Physics data taking campaign
Carbon stiffner attached to a ladder
  Robotic gantry for chip placement

## Slide 29: Towards physics in 2026
Detector Setup for 2026 Physics data taking campaign
Aim for a physics run in 2026
  Construct Vertex V2 (70µm thin sensors)
  Outer pixel production (central detector)
    Use 25 μm uni-directional carbon-fibre stiffner
    Robotic gantry used for placement of chip
  SciFi & Tile production
Could surpass the SINDRUM limit in less than two weeks
Install the full detector in 2027
  Production of recurl stations (2026)
Phase I data taking in HIMB
  Need 1 year of data taking to reach the branching ratio of

## Slide 30: Phase II from 2030 onwards
New challenges
At least a factor 20 times higher hit rates
→ higher readout bandwidth (faster links)
Accidental BG (Bhabha & Michel) will increase by a factor of 400
Power consumption will be critical
More hit combinatorics
→ complexity of reconstruction will increase
Detector R&D
Ultra long ladders, thinner Vertex detector (30µm)
Serial powering (reduction of material)
Faster MuPix20 pixel tracker (σ ≤ 1ns)
PicoAD sensor (σ ≤ 100ps)
Radiation tolerance of SciTiles
New readout system with optical
Transceivers closer to the detector frontend
PicoAD

## Slide 31: Thank you

## Slide 32: Backup

## Slide 33: Helium cooling
Mass flow of several g/s provided to pixel detectors
Based on novel industry technology transferred to science: Miniature turbo compressors
2 g/s circuit for Vertex Detector
16 g/s circuit for Outer Central Station

## Slide 34: Outer Pixel Central station
17 (18) x MuPix11 sensors in layer 3 (4)
  70µm thick sensors for Phase I
4 ladders per module
6 (7) modules in layer 3 (4)
 52 ladders (912 sensors)
25 μm uni-directional carbon-fibre stiffner
  very stiff along length (impact on yield and Transportation)
Automate ladder building procedure as much as possible
  Robotic gantry used for placement of chips
Sensors are tested manually, but semiautomatic probestation is available

## Slide 35: Towards physics in 2026