## Slide 1: Detector Concepts and Key Measurements in Future µCF Experiments
2026/7/2
Akihisa TOYODA
KEK

## Slide 2: Okada-san’s mCF diagram
Radiation chemistry effect: High muonic-molecule formation rates for D₃⁺
Fast Track:A high-speed reaction pathway via resonant states
In-flight reactions: Suppression of α–μ sticking (W) through fusion occurring in flight
１
2
3

## Slide 3: Excited muonic molecule
non-radiative
radiative
tm
d
cold
tm
d
hot ～1 keV
Hot dm / tm detection
X-ray detection by TES
Radiation Chemistry Effect
In-flight reactions
Fast Track
dtm*

## Slide 4: Key measurements
Measure fusion products and sticking X-rays from targets subjected to radiation-chemical effects in order to evaluate the fusion yield, fusion rate, and sticking probability.
  Aim to maximize the muonic molecular formation rate.
Observe radiative decays from excited muonic molecules using TES.
  Investigate changes in the radiative decay yield in combination with radiation-chemical effects.
  Improve the understanding of the muon-catalyzed fusion (μCF) process by comparing the measured spectra with theoretical predictions.
  →In this session Toyama-san’s talk
Observe non-radiative decays from excited muonic molecules through the detection of hot muonic atoms.
  Investigate changes in the non-radiative decay yield in combination with radiation-chemical effects.
  Evaluate the non-radiative decay yield and its correlation with the sticking probability. Combined with the TES measurements, these studies will provide further insight into the μCF process.

## Slide 5: Key measurement targets
ddmCF
dtmCF
d
d
m
p
t
m
～50%
～50%
n
3He
m
d
t
m
n
4He
m
Hot dm
～1 keV
recycling muon
～10 keV
recycling muon
～10 keV
Hot tm
～1 keV
mu-e decay e
0～52.5 MeV
mu-e decay e
0～52.5 MeV
fusion proton
3 MeV
fusion neutron
14 MeV
Sticking X-ray
6-10 keV
fusion neutron
2.5 MeV
fusion alpha
3.5 MeV
Sticking X-ray
6-10 keV
Excited muonic
molecule X-ray ～2 keV
Excited muonic
molecule X-ray ～2 keV

## Slide 6: Detector candidates
fusion products
  proton, alpha: SSBs → Cedric-san’s talk
  neutron: NE213, OGS, … → Ueno-san and Aramaki-san’s talk
mu-e decay electrons: plastic scintillator
X-rays: SDD or TES → Toyama-san’s talk
recycling muon: special setup is needed →Patrick-san’s talk
Hot dm/tm: special setup is needed→ in this talk

## Slide 7: Observables and typical resolution
fusion products
  proton, alpha: Yield, Energy for PID (resolution～20 keV), Timing
  neutron: Yield, Pulse shape and Energy for PID, Timing
mu-e decay electrons: Timing(resolution～1 ns)
X-rays(He Sticking, excited muonic molecule): Energy(～150 eV for He Sticking), Timing
Yield, Energy, Timing, Pulse shape...

## Slide 8: Setup of ddmCF in solid
Similar to past Toyoda’s ddmCF experiment
Diffuse deuterium gas onto the cold (4 K) silver foil and form the thin solid foil (～300 mmt)
Measure 3 MeV fusion protons to determine the fusion rate.
Both DC beams and pulse beams are fine.
Other detectors: plastic scintillators, the X-ray detector (incl. TES)
Apparatus for producing radiation-chemical effects such as an electron gun

## Slide 9: Alternative dd-mCF setup in liquid/solid
Similar to past Imao-san’s ddmuCF experiment
Target cell temperature is controlled (about 4-35 K) to form solid or liquid deuterium target.
Measure 2.5 MeV fusion neutrons to determine the fusion rate.
DC beams are necessary to measure low energy neutrons.
Other detectors: plastic scintillators, the X-ray detector
Apparatus for producing radiation-chemical effects
H. Imao, Physics Letters B 658 (2008) 120–124

## Slide 10: dt-mCF in liquid/solid
K. Ishida et al., Hyperfine Interactions
138: 225–234, 2001.
Similar to past RIKEN-RAL dt-mCF experiment
Target cell temperature is controlled (about 5-20 K) to form solid or liquid D/T target.
Measure 14 MeV fusion neutrons to determine the fusion rate.
Both DC beams and pulse beams are fine.
Other detectors: plastic scintillators, the X-ray detector(incl. TES)
Apparatus for producing radiation-chemical effects

## Slide 11: Hot dm detection setup: Past TRIUMF dd-mCF setup
B.M. FORSTER et al. Hyperfine Interactions 65(1990)1007
The purpose of this experiment is to detect slow (Ramsauer minimum of about 1 eV) dm.
  The similar setup can be used for the Hot dm detection.
Detection system: 3 layer tracking WC, TOF of T1(start)+S1,2(stop, coin. for decay-e), and energy measurement by S3 NaI to evaluate muon decay position.
Target is H/D layer (about 1 mmt) + D2 layer (about 1 mmt) formed onto the cold gold foil.

## Slide 12: Past TRIUMF ddmuCF result
B.M. FORSTER et al. Hyperfine Interactions 65(1990)1007
Their set up has relatively short dm drift length of about 45 mm because they aimed to measure the slow dm.
Hot dm energy is expected to be about 1 keV(～30 cm /1 ms). Even if there is a Hot dm, it will be stopped at the diffuser. Background discrimination is difficult with this setup.
To measure the Hot dm, removable diffuser is necessary to secure over 10 cm drift region.
They successfully measured the slow dm of 1.1 eV which is near the Ramsauer minimum.
They also confirmed the Ramsauer-Townsend effect by changing the H/D film thickness.

## Slide 13: Summary
Three Key Measurements
  Maximization of the muonic molecular formation rate via radiation-chemical effects
  Investigation of radiative decay processes using TES detectors
  Investigation of non-radiative decay processes through hot muonic atom detection
Observables and Detection Methods
  Fusion products
    3 MeV protons → SSB
    2.5 MeV neutrons → NE213, OGS, etc.
    3.5 MeV alpha particles → SSB
    14 MeV neutrons → NE213, OGS, etc.
  He sticking X-rays (6–10 keV) → SDD
  Excited muonic molecule X-rays (<2 keV) → TES
  Recycling muons (~10 keV) → Dedicated setup
  Hot muonic atoms (~1 keV) → Dedicated setup

## Slide 14: spares

## Slide 15: ORTEC SSB

## Slide 16: Techno AP SDD

## Slide 17: NE213/EJ301

## Slide 18: Alternative setup of dtmCF in solid
Similar to past Toyoda’s ddmCF experiment
Diffuse D/T gas onto the cold (4 K) silver foil and form the thin solid foil
Measure 3.5 MeV fusion alphas or 14 MeV fusion neutrons to determine the fusion rate.
Both DC beams and pulse beams are fine.
Other detectors: plastic scintillators, the X-ray detector
There is no target cell, so that we need to prepare double layer tritium confinement system.

## Slide 19: dd-muCF experiment for non-radiative decay
movable
diffuser
Cryostat
Ag foil
H2D2 layer
1 mmt
thin D2 layer
2 mmt
Chamber
Beam
～100 mm
Hot dm
SSBs
ラムザウアからのdmは1 eVぐらい,epithermalも同等なのに対して、ddm*からのHot dmは1 keV程度と高い。1 eVのdmの速度は1 cm/msなので100 mmも離せばすべてHot dmだけになる。
recycling muonが効いてくるようであれば、磁場もしくは電場を掛けてsweepする必要がある。 dmは電気的に中性なので影響を受けない。
SSBsでDE-Eを測ると必然的にcoincidenceを取ることになる。適切に置くことで上流標的からのdd-muCFの影響を受けずにHot dmからのddmイベントだけ見ることができる。
ddmCFはrateが低いので2回目のサイクルの影響は少ない。
標的間隔を変えてデータが取れると面白い。

## Slide 20: 過去の参考になる実験2: 藤原さんのTRIUMF実験
M.C. Fujiwara, et al., Phys. Rev. Lett. 85, DOI: https://doi.org/10.1103/PhysRevLett.85.1642

## Slide 21: dt-muCF experiment for non-radiative decay
movable
diffuser
Cryostat
Ag foil
H2D2 layer
1 mmt
thin T2
2 mmt
Chamber
Beam
～100 mm
Hot tm
SSBs1
1枚目標的をthin T2にすれば、dtm*からのHot tmによるfusion rateおよびdtm*の量を測定可能。fusion productであるHe(3.5 MeV)を測る。n(14 MeV)も。
下流標的からはddmによるfusion productsがあるが、energy/粒子が違うので分離できる。
上流標的へのSSBs1の立体角は小さくできる。
下流標的へのSSBs2の立体角は小さくできる。こちらのfusion productはdtm1回分と残りはttm。dtmがどの程度起こったかを評価。
藤原さんのTRIUMF実験では、上流がH/T layer(～1 mm)にthin D2 layer(tmのdegrader)で、下流がthin D2 layerだった。目的が違う実験。DE-Eも測っていない.ラムザウア効果を使っている
SSBs2