## Slide 1
Narender Kumar
Introduction: Accelerator Applications
Narender Kumar
Accelerator Applications

## Slide 2: Overview
Our Current Research Activities
Background and R&D
Research Strategy
Accelerator Applications
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 3: Our Current Research Activities
LhARA Collaboration Meeting
Non-Invasive Beam Monitors
    Gas Jet Profile Monitors
        Gas Jet Monitor for HL-LHC
        Dosimetry for Medical Accelerators
    Optical Beam Loss Monitor
    1. Complete solution : Beam loss monitoring, RF Breakdown and Quench detection
Quantum Technologies for Accelerators
    QuantumJet Scanner for profile monitoring
    qHAM for Microscopy applications
3D X-rays Imaging system
D-Beam Ltd: OASYS, JETDOSE, qHAM, QuantumJet
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 4: STFC-funded Gas Jet technology
Gas jet shaping
MCP
Phosphor screen
Detector
Ionization
Ion extraction
Visible light
LhARA Collaboration Meeting
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 5: STFC-funded Gas Jet technology
Nozzle Chamber
Skimmer Assembly
Gas Separator
Skimmer Chamber
Third Skimmer
Imaging System
Interaction Chamber
Moveable Gauge Chamber
Dump Chamber
~3 m
“Gas jet monitor R&D is world leading” – CI SAC (2019)
LhARA Collaboration Meeting
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 6: Different setups at the Cockcroft Institute
Monitor for keV beams
HLLHC prototype
HLLHC working instrument
LhARA Collaboration Meeting
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 7
Quantum Technologies for Accelerators
QuantumJet Scanner for applications in high power accelerators, plasma sources, high precision targets (STFC IPS FoF)
qHAM for high resolution, table top, compact and non-destructive imaging (InnovateUK)
Nozzle
Gas Jet
Quantum Gas Jet
Fresnel Zonal Lens
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 8
We started our collaboration in 2011, joint STFC-funded PhD project since 2017.
E Skordis and C P Welsch
A Monte Carlo Approach to Imaging and Dose Simulations in
Realistic Phantoms Using Compact X-Ray Source
Proc. IPAC17, Copenhagen, Denmark. (2017)
T G Primidis, V Y Soloviev and C P Welsch
Accuracy of the independent atom approximation in digital
tomosynthesis Monte Carlo simulations
Biomed. Phys. Eng. Express 7 055016 (2021)
R&D into detailed Monte Carlo models and algorithms for the flat panel X-ray source array.
Goal: Optimization of overall system, image analysis and signal processing.
3D X-ray Imaging System
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 9
Insensitive to x-rays and magnetic fields
Particles lost inside a beam pipe create a shower of charged particles
Some of these charged particles pass through the optical fibre generating Cherenkov radiation
This is collected and loss location is measured via either accurate time-of-flight measurements or calibration
Simplified oBLM operating principle
Sensor Unit
Particle bunch
Optical-fibre
Beam pipe
Screen
v
Charge shower
Cherenkov radiation
Optical beam loss monitor developed by UoL and CERN.
RF Breakdown and Quench detection
OBLM-a complete diagnostic solution for particle accelerators
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 10
www.d-beam.co.uk
D-Beam Ltd: Our Industrial Partner
QUASAR GROUP AWAY DAY, 23rd May 2022
University of Liverpool spin out company incorporated in December 2015
Commercialisation of innovative diagnostic solutions based on (UoL) R&D
STFC-CERN Business Incubation Centre alumni since 2017.
ASTeC technology highlight of the year in 2018/2019
Commercialization of beam diagnostics : Optical sensors, Beam loss monitors, adaptive optics for profile measurement, Machine protection and Gas jet technology
R&D funding awarded by EU and STFC including IAA, Innovate UK, CLASP, IPS FOF
Growing partnership with many other industrial partners.

## Slide 11: Research Strategy
R&D least invasive beam and dose monitors: to help improve patient treatment and medical accelerator operation.
To continue the develop and optimize novel low dose 3D X-ray imaging systems with Adaptix.
Develop compact accelerators for rock art discovery
Drive quantum technologies for accelerator applications.
Grow our spinout company D-Beam, targeting a product portfolio that benefits accelerator facilities around the world.
QUASAR GROUP AWAY DAY, 23rd May 2022

## Slide 12: Thank you for your attention

## Slide 13: Questions
Is there any field/area which is similar or closely related to our research activities on which we can start working or planning something for future activities? (i.e. from gas jet beam monitor to microscopy)
Any challenges (technical, commercial, etc.) on which we should focus for the next research strategy.
Any other emerging or popular research activities all around the world on which we can focus in the near future.
Possible collaborations and funding opportunities.
How to improve our existing research and development program? (i.e. training programs, workshops, etc.).
Challenges of data science/AI in applications for accelerators.
LhARA Collaboration Meeting
QUASAR GROUP AWAY DAY, 23rd May 2022